## PART CD
Danby Model:DAC120EB3GDB
Factory Model:MWK-12CRN1-BK3
Effective Date:2/14/2014
Revision: | New
NO | PART NUMBER | UPDATED PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 2011217A1098 |  | Panel assembly |  | Special Order
2 | 201121790057 |  | Front panel
3 | 201121790058 |  | Panel frame |  | Special Order
4 | 201121790054 |  | Air filter
5 | 2033550A9698 | 2033550A9980 | Remote controller
6 | 2033215A0095 |  | Electronic control box assembly |  | Special Order
7 | 202433190000 |  | Ambient temperature sensor assembly
8 | 202402290003 |  | Power cord
9 | 2013215A0010 |  | Main control board assembly
10 | 201221390027 |  | Cover of electronic control box |  | Special Order
11 | 203321790318 |  | Electronic control box assembly |  | Special Order
12 | 201221790282 |  | Electronic control box |  | Special Order
13 | 202401400048 |  | Capacitor of compressor
14 | 201200100002 |  | Capacitor clip |  | Special Order
15 | 201120490140 |  | Bracket of fresh air door |  | Special Order
16 | 201121790033 |  | Fresh air door
17 | 201100100063 |  | Centrifugal fan
18 | 202221790023 |  | Volute shell (below) |  | Special Order
19 | 202221790022 |  | Mid volute shell |  | Special Order
20 | 201121790328 |  | Wind baffle board |  | Special Order
21 | 202221790025 |  | Volute shell (above) |  | Special Order
22 | 201121790362 |  | Rear separating |  | Special Order
23 | 201100300031 |  | Axial flow fan
24 | 202400401279 |  | Asynchronous motor
| 202400401579 |  | Asynchronous motor
| 202400401549 |  | Asynchronous motor
25 | 201621791237 |  | Suction pipe |  | Special Order
26 | 201400611179 |  | compressor |  | Special Order
27 | 201621791235 |  | Discharge pipe assembly |  | Special Order
28 | 201521790291 |  | Evaporator coil assembly |  | Special Order
29 | 201521790266 |  | Evaporator |  | Special Order
30 | 201621791175 |  | Capillary assembly |  | Special Order
31 | 201521790292 |  | Condenser assembly |  | Special Order
32 | 201221790291 |  | Chassis assembly |  | Special Order
33 | 201120490093 |  | Connecting bar of cabinet
34 | 201221790193 |  | Top shutter frame
35 | 201221790201 |  | Cabinet |  | Special Order
36 | 2028217A0029 |  | Installation accessory
37 | 201120490086 |  | Left shutter frame |  | Special Order
38 | 201120490089 |  | Shutter |  | Special Order
39 | 201120490088 |  | Locking bar of shutter |  | Special Order
40 | 201120490087 |  | Right shutter frame |  | Special Order
41 | 201220490075 |  | Bracket for Right shutter frame |  | Special Order
42 | 201220390002 |  | Clamp of Shutter |  | Special Order
43 | 201220190043 |  | Installation plate |  | Special Order
44 | 201220490074 |  | Bracket for Left shutter frame |  | Special Order
45 | 2033217A0580 |  | Display box assembly |  | Special Order
46 | 201321190049 |  | Display board assembly
47 | 2011211A0576 |  | Control panel
System QA
11 | 203321790309 |  | Electronic control box assembly |  | Special Order
13 | 202401400047 |  | Capacitor of compressor |  | Special Order
25 | 201621791211 |  | Suction pipe |  | Special Order
26 | 201402203300 |  | compressor |  | Special Order
27 | 201621791209 |  | Discharge pipe assembly |  | Special Order
System RZ
11 | 203321790206 |  | Electronic control box assembly |  | Special Order
13 | 202401400029 |  | Capacitor of compressor |  | Special Order
25 | 201621791173 |  | Suction pipe |  | Special Order
26 | 201402000980 |  | compressor |  | Special Order
27 | 201621791172 |  | Discharge pipe assembly |  | Special Order